## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Victoria Court ( Flat 3 )
Cullercoates
North Shields
NE30 4QR
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 24-51863
DATE OF REPORT: 07/08/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-51863
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Victoria Court ( Flat 3 )
Cullercoates
North Shields
NE30 4QR
Carried Out On | 31/07/2024
Survey Completed By | Jason White
SECTION 2: Introduction
kitchen hot water tap is very cloudy - please rectify as this has been an ongoing issue

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-51863
SECTION 3: Report
Jw 31-7-24 When hot tap in kitchen runs the water appears murky the temp is 60+degrees This is causing micro bubbles in the water this settles after a few seconds and goes clear

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-51863
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-51863
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-51863
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-51863
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-51863
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes