## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Castle Close ( Flat 29 )
Fellside Park
Whickham
NE16 4HU
CARRIED OUT ON BEHALF OF
Castles & Coasts Housing Association
REPORT NUMBER: 24-51989
DATE OF REPORT: 01/08/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-51989
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Castles & Coasts Housing Association
Address | Arcadia House
Balliol Business Park
Newcastle Upon Tyne
NE12 8EW
Site Address | Castle Close ( Flat 29 )
Fellside Park
Whickham
NE16 4HU
Carried Out On | 01/08/2024
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Please can you attend asap to this lady 97 and please give her time to get to the door if you knock and go in and say who you are this is okay. Lady has no heating. Boilers may have tripped as have issues with overheating.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-51989
SECTION 3: Report
PN 1/8/24 Diverter very loose tried moving lever across but is very loose and there is water dripping from the diverter needs a commercial engineer

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-51989
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-51989
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-51989
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-51989
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-51989
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes