## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Rothley Grange ( Flat 2 )
Solway Avenue
Cullercoats
NE30 3AU
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 24-52026
DATE OF REPORT: 07/08/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-52026
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Rothley Grange ( Flat 2 )
Solway Avenue
Cullercoats
NE30 3AU
Carried Out On | 06/08/2024
Survey Completed By | Craig Towart
SECTION 2: Introduction
heating has been off for 3 days ( I did advise it may be because of the weather)

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-52026
SECTION 3: Report
Ct 6/8 No vt pumps running this will likely be due to high outside & inside temperatures closing them off. However due to faults on BMS system which has been reported before this can’t be 100% confirmed. How ever we have been told from Richard not to turn to manual No answer at flat 2 to explained explained to site warden

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-52026
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-52026
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-52026
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-52026
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-52026
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes