## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
4 Redburn View
Bardon Mill
NE47 7BR
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 24-52057
DATE OF REPORT: 27/08/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-52057
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 4 Redburn View
Bardon Mill
NE47 7BR
Carried Out On | 14/08/2024
Survey Completed By | Adam Watts
SECTION 2: Introduction
complete solar decommission and unvented service - use the unvented template in repairs tab

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-52057
SECTION 3: Report
Make Worc Model Worc Sub Location LOF Installed Date 2019-04-25 Quantity 1 Make Component Historical No End Date *** Installation Details *** Solar system operating pressure - cold (bar) 1 Expansion vessel air/nitgrogen charge - cold (bar) 2 Expansion or drain back vessel size (Litres) 20 Tested for leaks & flushed Filled & purged for air Tmax been limited to 60 °c Yes Air vent(s) provided for solar primary circuit Yes Pump speed setting 1 Pump max flow rate (litres) 1 Solar primary circuit pressure relief valves, tested for correct operation Yes Solar primary circuit pressure relief valve location Cupboard Device for limiting hot water outlets has been fitted Yes All exposed pipework lagged in accordance with regulations using suitable mats Yes For unvented hot water storage cylinder, will controls stop solar fluid circulation in the event of overheating? Yes *** Solar System Controls *** Temperature sensors checked and operating correctly Yes Delta T on °C Delta T off °C T max °C Job Ref Place Ref Operative Name Operative Number Address Solar Appliance Updates 1 Other DTC settings Backup heat source with thermostat located in boiler heated zone of cylinder Yes Have optimum settings for backup system HW been set and explained to customer Yes Does this include legionella protection settings with backup heating system to bring boiler volume to 60°c for an hour once a day? Yes Electrical installation is in accordance with BS7671 Yes Location of electrical isolation switch to solar control/pump unit Cupboard *** All installations *** The heating and hot water system complies with the appropriate building regulations? Yes The solar thermal and associated products have been installed and commissioned in accordance with the manufacturers instructions Yes *** Additional Information/Warnings*** Reference Additional Info/Defects Identified Remedial Action Taken Solar Appliance Additions Operative Signature Cylinder Type Santon premier plus Capacity (Ltrs) 210 Makers Warning Label Attached yes Inlet water pressure/flow rate 12 liters Fully commissioned yes System operating pressure (bar) 3 Operating pressure expansion vessel (bar) 3.5 Operating pressure expansion relief valve (bar) Is the tundish visible? Yes Drained solar system and pulled fuse out, system has been decommissioned

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-52057
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-52057
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-52057
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-52057
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-52057
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes