## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
30 Bay Court
Ushaw Moor
Durham
DH7 7RU
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 24-52215
DATE OF REPORT: 08/08/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-52215
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 30 Bay Court
Ushaw Moor
Durham
DH7 7RU
Carried Out On | 08/08/2024
Survey Completed By | Adam Watts
SECTION 2: Introduction
Check solar heating system, customer states it is making loud noises - Karbon would like a second opinion

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-52215
SECTION 3: Report
Solar panels are working on arrival. Sounds likes it's running half empty, was told by Tennant that it was only filled 2 weeks ago, but used water from bathroom to fill. Please fill with glycol

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-52215
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-52215
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-52215
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-52215
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-52215
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes