## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Phoenix Rise ( Flat 12 )
Ambassadors Way
North Shields
NE29 8SQ
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 24-52367
DATE OF REPORT: 27/08/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-52367
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Phoenix Rise ( Flat 12 )
Ambassadors Way
North Shields
NE29 8SQ
Carried Out On | 09/08/2024
Survey Completed By | Craig Towart
SECTION 2: Introduction
no heating in flat (tnt likes the heating on) - red light showing on thermostats in the lounge and bathroom - ring to schedule appointment

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-52367
SECTION 3: Report
Ct 9/8 No leaks on thermostats took dials off opened manually and working as wheel has went brital and broke on stats. Isolated electrics and replaced both bathroom and living room stats. Tested all working correctly Materials 2x Drayton rts2

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-52367
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-52367
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-52367
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-52367
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-52367
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes