## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Carisbrooke Court
Chester Terrace
Sunderland
SR1 3SN
CARRIED OUT ON BEHALF OF
Castles & Coasts Housing Association
REPORT NUMBER: 24-52370
DATE OF REPORT: 19/08/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-52370
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Castles & Coasts Housing Association
Address | Arcadia House
Balliol Business Park
Newcastle Upon Tyne
NE12 8EW
Site Address | Carisbrooke Court
Chester Terrace
Sunderland
SR1 3SN
Carried Out On | 19/08/2024
Survey Completed By | Craig Towart
SECTION 2: Introduction
Carry out 6 Monthly Mechanical Checks in Plant Room & clean Filters if possible.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-52370
SECTION 3: Report
Carisbrooke court 2x pottertom fs70 boiler one fault e82 reset now has E10 and a safety warning sticker on case? Not sure if this is old or new but boiler isn’t isolated from gas and on visual inspection nothing showing reason to be except because of error. How ever parts and boiler are obsolete Boiler 2 operational 1x Andrew’s water heater 65/173 operational 1x Andrew’s water heater hiflo evo operational 2x wilo pumps yonos maxo d50 1= operational amps 2 2= operational amps 1.5 2x boiler shunt pumps grundfoss magna1 32-60 1= operational amps 0.8 2= operational amps 1.1 1x dhw return grundfoss ups32-55 operational amps 3x prv operational Valves and gauges operational Water sample taking. Recommend work repair boiler if merchants can source pcb as getting continuity from sensor. But showing sensor fault on board. If not replace boiler due to site only running off one boiler which is also same make as obsulete boiler. Also get Tony and someone to help remove old Andrew’s water heater. Water tank and pump set.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-52370
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-52370
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-52370
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-52370
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-52370
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes