## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Pembroke Court
Hylton Lane
Sunderland
SR5 4DF
CARRIED OUT ON BEHALF OF
Castles & Coasts Housing Association
REPORT NUMBER: 24-52371
DATE OF REPORT: 16/08/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-52371
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Castles & Coasts Housing Association
Address | Arcadia House
Balliol Business Park
Newcastle Upon Tyne
NE12 8EW
Site Address | Pembroke Court
Hylton Lane
Sunderland
SR5 4DF
Carried Out On | 16/08/2024
Survey Completed By | Craig Towart
SECTION 2: Introduction
Carry out 6 Monthly Mechanical Checks in Plant Room & clean Filters if possible.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-52371
SECTION 3: Report
Primrose court 2x remeha gas210 eco pro operational 1x hrs aqua save calorifier 1x interlock operational 1x pressuration unit operational 1x vt pump wilo yonos maxos 60 operational amps 1.1 1x vt valve Siemens acvatix sql33 operating 1x3 port valve Siemens sqs65 operational 1x de stract pump grundfoss uo 20-45 n operational amps .4 2x shunt pumps grundfoss tpd 80/120 1= operational amps 2.4 2= operational amps 2.1 1x dhw pump grundfoss ups32-80al amps 0.2 operational 1x hw return pump Grundfoss no other data operational amps 0.3 5x prv Valves and gauges operational Lagging pieces missing. 3meters 3” silver foil 1x ch expansion vessel 1.5 bar 1x hw expansion vessel 3.5 bar Water sample taking

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-52371
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-52371
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-52371
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-52371
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-52371
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes