## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
1 Willow Court
Coxhoe
County Durham
DH6 4SZ
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 24-52420
DATE OF REPORT: 10/08/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-52420
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 1 Willow Court
Coxhoe
County Durham
DH6 4SZ
Carried Out On | 09/08/2024
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Replace plate heat exchanger

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-52420
SECTION 3: Report
Changed plate heat exchange over but boiler still shooting up to 80 degrees straight away when hot water on. Main heat exchanger is fault. Boiler to be replaced Tuesday and organised with JH. Boiler is potterton promax 28 he Vertical flue 2 45s Flue extension Flue terminal

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-52420
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-52420
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-52420
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-52420
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-52420
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes