## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Carville Grange ( Flat 30 )
Carville Road
Wallsend
NE28 6DX
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 24-52483
DATE OF REPORT: 27/08/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-52483
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Carville Grange ( Flat 30 )
Carville Road
Wallsend
NE28 6DX
Carried Out On | 13/08/2024, 16/08/2024
Survey Completed By | Craig Towart
SECTION 2: Introduction
No.30 at Carville Grange has an issue with the heating. It will not turn down

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-52483
SECTION 3: Report
Ct 13/8/24 Wheel on thermostat has been noted off and refitted in wrong positioning. Altered back to correct position but ordered new Drayton rts2 as only have non neon ones on van an Tennant is old and won’t understand change. Ct 16/8/24 Isolated electrics and replaced room stat re powered then tested all working ok Materials used Drayton rts2

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-52483
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-52483
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-52483
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-52483
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-52483
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes