## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Mayfield Park ( Flat 29 )
Bristol Drive
Wallsend
NE28 9BF
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 24-52660
DATE OF REPORT: 27/08/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-52660
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Mayfield Park ( Flat 29 )
Bristol Drive
Wallsend
NE28 9BF
Carried Out On | 15/08/2024
Survey Completed By | Craig Towart
SECTION 2: Introduction
Very hot inside flat - heating is turned off

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-52660
SECTION 3: Report
Ct 15/8/24 All thermostats disks were positioned wrong so at 10 degrees was actually 20. Checked with thermo camera no heat circulating one leg was cooling down due to tennat having on last night as felt cold. Fitted a new actuator on one loop as was t sure if was fully closing as took a while to cool. Materials Giacomini r473x221 2x wago blocks

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-52660
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-52660
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-52660
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-52660
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-52660
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes