## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
6 Dovecote Drive
Glenside View
Pelton Fell
DH2 2AH
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 24-53415
DATE OF REPORT: 24/08/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-53415
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 6 Dovecote Drive
Glenside View
Pelton Fell
DH2 2AH
Carried Out On | 24/08/2024
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Boiler Leaking

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-53415
SECTION 3: Report
Clip had poped off on the flow pipe to the top of the pump. Looked like it had not been put back on properly when it had been removed. Sat pipe in right position and filled boiler back up. Tested heating and all was okay.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-53415
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-53415
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-53415
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-53415
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-53415
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes