## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
22 Shotley Field View
Consett
Durham
DH8 5AN
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 24-53416
DATE OF REPORT: 24/08/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-53416
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 22 Shotley Field View
Consett
Durham
DH8 5AN
Carried Out On | 24/08/2024
Survey Completed By | Rhys Brown
SECTION 2: Introduction
No Heating Or Hot Water

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-53416
SECTION 3: Report
Boiler in low pressure fault upon further inspection leaking from body of filling loop valve. Replaced with isolation calve temporarily to get boiler filled up. Boiler topped up and valve not leaking. Will need to be replaced due to not being correct valve.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-53416
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-53416
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-53416
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-53416
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-53416
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes