## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Southgate Court ( Flat 15 )
Longbenton
Newcastle upon Tyne
NE12 8UW
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 24-53584
DATE OF REPORT: 29/08/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-53584
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Southgate Court ( Flat 15 )
Longbenton
Newcastle upon Tyne
NE12 8UW
Carried Out On | 27/08/2024
Survey Completed By | Jason White
SECTION 2: Introduction
Flat 15 - a leak in a cupboard at Southgate, Flat 15. A ceiling tile has come down and you can now here the drip drip drip of water

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-53584
SECTION 3: Report
Jw 27-8-24 Leaking from cold water meter Tightened up ran taps for ten mins and rechecked for leaks all good

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-53584
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-53584
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-53584
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-53584
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-53584
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes