## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
14 Lavender Lane
South Shields
Tyne and Wear
NE34 0AP
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 24-53591
DATE OF REPORT: 10/09/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-53591
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 14 Lavender Lane
South Shields
Tyne and Wear
NE34 0AP
Carried Out On | 10/09/2024
Survey Completed By | Darren Bell
SECTION 2: Introduction
Requires new solar pump. Please take full details of pump required, ie; sizes, make, model ect. Tenant can't do Mondays or Fridays. Link with 24-47630.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-53591
SECTION 3: Report
Pump on solar working fine, flow setter was stuck. Freed flow setter and set to 3lpm. No parts required Tenant thought we were attending due to water ingress around panel when it rains. I've took images and emailed through to Dave.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-53591
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-53591
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-53591
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-53591
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-53591
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes