## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Patton Walk ( Communal )
Wheatley Hill
County Durham
DH6 3QY
CARRIED OUT ON BEHALF OF
Believe Housing
REPORT NUMBER: 24-53927
DATE OF REPORT: 13/03/2025
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-53927
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Believe Housing
Address | Coast House
Spectrum 4
Spectrum Business Park
Seaham
SR7 7TT
Site Address | Patton Walk ( Communal )
Wheatley Hill
County Durham
DH6 3QY
Carried Out On | 02/09/2024
Survey Completed By | Craig Towart
SECTION 2: Introduction
THERE WAS POWER CUTS OVER THE WEEKEND WHICH HAS KNOCKED THE HEATING/HOT WATER OFF

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-53927
SECTION 3: Report
Ct 2/9/24 Reset gas trip on BMS board. Boiler 1 already isolated. Boiler 2 in lock out. Reset and fired and locked out. Turned boiler flow and return off to allow boiler to dry as leak on heat exchanger. Fired staying on longer but not going to high flame. Played with flame electrode and boiler fired up properly. Left secured in position to fire turned off and on a couple times checking boiler lit every time. Fow Fit new flame sensing lead when in stock as not a stock part and merchants will have to contact ideal to try source.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-53927
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-53927
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-53927
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-53927
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-53927
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes