## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Preston Court ( Communal )
Rosebery Avenue
North Shields
NE29 9PG
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 24-53954
DATE OF REPORT: 02/09/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-53954
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Preston Court ( Communal )
Rosebery Avenue
North Shields
NE29 9PG
Carried Out On | 02/09/2024
Survey Completed By | Craig Towart
SECTION 2: Introduction
water in the cleaning cupboard, the guestroom and the communal bathroom is coming out a reddish brown for a good few minute.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-53954
SECTION 3: Report
Ct 2/9/24 Ran taps and come copper colour for couple seconds then run clear manger says she pulls them through every other day. So wouldn’t think anything would build up in that time. Fow Get clear flow out to water sample and treat where necessary.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-53954
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-53954
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-53954
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-53954
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-53954
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes