## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
14 Axwell Terrace
Swalwell
Newcastle Upon Tyne
NE16 3JS
CARRIED OUT ON BEHALF OF
Homegroup N1/N2
REPORT NUMBER: 24-54060
DATE OF REPORT: 06/09/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-54060
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Homegroup N1/N2
Address | One Strawberry Lane
Newcastle Upon Tyne
NE1 4BX
Site Address | 14 Axwell Terrace
Swalwell
Newcastle Upon Tyne
NE16 3JS
Carried Out On | 05/09/2024, 06/09/2024
Survey Completed By | Paul Nichol
SECTION 2: Introduction
investigate no hot water issue on site

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-54060
SECTION 3: Report
PN 6/9/24 Checked bath tap temp with thermometer had to turn flow rate down to 6L per minute To get it to 45.c Temp number on boiler jumping from 62-79 .c

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-54060
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-54060
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-54060
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-54060
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-54060
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes