## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
8 Burnside
Ovington
Northumberland
NE42 6DY
CARRIED OUT ON BEHALF OF
Regen Group
REPORT NUMBER: 24-54127
DATE OF REPORT: 09/09/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-54127
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Regen Group
Address | RE:GEN House
Deptford Road
Gateshead
Tyne & Wear
NE8 3AZ
Site Address | 8 Burnside
Ovington
Northumberland
NE42 6DY
Carried Out On | 09/09/2024
Survey Completed By | Morgan Hughes
SECTION 2: Introduction
Survey site and ascertain what is required to accomodate fabric works, oil pipework and electrics to be moved as per the ASHP jobs on site

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-54127
SECTION 3: Report
Oil Boiler move, to accommodate fabric works. The boiler needs moving away from the wall 800mm. *100mm ducting will need extending 800mm. 100mm round with connector needed *Heating pipework (22mm) will need extending 800mm. 4x 22mm end feed straights and 22mm pipe needed. * Hot and cold pipework (15mm) will need extending 800mm. 4x 15mm end feed straights and 15mm pipe needed. * 10mm oil feed from De-Aerator (Tiger loop) to boiler will need extending 700mm. 2x 10mm compression straights and 10mm coated pipe needed. * Oil De-Aerator (Tiger loop) and pipework will need moving 100mm off the wall. 50mm wood needed for patrice. * Condensate pipe will need altering back into the drain. (32mm Black Solvent) 2x 90's, 2x 45's and pipe. * Earth wire will need extending 800mm. Photos provided.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-54127
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-54127
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-54127
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-54127
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-54127
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes