## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
19 aged minors homes
Sr77ab
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 24-55126
DATE OF REPORT: 27/10/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-55126
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 19 aged minors homes
Sr77ab
Carried Out On | 27/10/2024
Survey Completed By | Richard Taylor
SECTION 2: Introduction
Ho heating or hot water

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-55126
SECTION 3: Report
Alpha intec 26c E01 fault code on boiler. Ignition fault Spoke with jason w who advised possible pcb fault. I've reduced temperature on heating to 50°c and hw to 45°c to stop boiler over heating. Spoke with jason w to advised its most likely the pcb. Follow on job to replace pcb. Boiler left with heating and hot water working. Tennant also has fan heating if boiler goes off again

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-55126
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-55126
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-55126
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-55126
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-55126
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes