## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
1 school court
Hordon
Peterlee
SR84LN
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 24-55206
DATE OF REPORT: 30/11/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-55206
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 1 school court
Hordon
Peterlee
SR84LN
Carried Out On | 30/11/2024
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Boiler not working again after part replaced / low pressure

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-55206
SECTION 3: Report
PN 30-11-24 Low pressure topped up heating and hot water working Will need a new filling loop fitted as the one on is two isolation valves should have a non return valve fitted

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-55206
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-55206
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-55206
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-55206
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-55206
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes