## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
6 coniston court
DH9 7DE
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 24-55211
DATE OF REPORT: 01/12/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-55211
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 6 coniston court
DH9 7DE
Carried Out On | 01/12/2024
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Boiler leaking when turned on / no heating or hot water

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-55211
SECTION 3: Report
PN 1-12-24 Condensate pipe blocked up when checking pipe snapped inside wall condensate now dripping into bucket Condensate goes into 32mm into wall the bit pipe that snapped was blocked up would recommend a pump installed and the wall cut out and the 32mm blanked off

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-55211
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-55211
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-55211
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-55211
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-55211
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes