## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
67 Old Customs House
Borough Road
North Shields
NE29 6LH
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 24-55228
DATE OF REPORT: 11/12/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-55228
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 67 Old Customs House
Borough Road
North Shields
NE29 6LH
Carried Out On | 10/12/2024
Survey Completed By | Rhys Brown
SECTION 2: Introduction
NO HEATING OR HOT WATER

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-55228
SECTION 3: Report
When arriving on site boilers were firing. Heating temp leaving building was 80 degrees and return was 60. Pump 2 was at flow failed on panel but when trying to change over to pump one it was not working at all and display seemed to be faulty? Pumps to be checked over in further investigation. Heat has started to come back on in building once resetting pump. 10:30 - 12:30

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-55228
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-55228
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-55228
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-55228
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-55228
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes