## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
15 kestrel lodge
Saville st
South Shields
NE33 2PT
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 24-55235
DATE OF REPORT: 14/12/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-55235
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 15 kestrel lodge
Saville st
South Shields
NE33 2PT
Carried Out On | 14/12/2024
Survey Completed By | Paul Nichol
SECTION 2: Introduction
No water effecting multiple properties

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-55235
SECTION 3: Report
PN 14-12-24 Block 1-9 Has just trickle coming out of taps on bottom floor middle floor just a drip top floor no water coming out Block 10-17 Has water on bottom and middle floor just a trickle coming out of taps flat 16+17 no water coming out of taps in flat 15

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-55235
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-55235
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-55235
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-55235
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-55235
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes