## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
27 tamar close
NE29 8QR
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 24-55278
DATE OF REPORT: 29/12/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-55278
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 27 tamar close
NE29 8QR
Carried Out On | 28/12/2024
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Now heating and hot water

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-55278
SECTION 3: Report
PN 28-7-24 Tenant has hot water no heating checked plant room no faults Communal radiators working except for one outside tenants flat checked actuator in tenants flat removed head and turned lever to see if I could get heating nothing coming through Will need commercial lad to look at it Left 2 heaters with tenant

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-55278
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-55278
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-55278
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-55278
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-55278
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes