## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
6 Hartley Court
Holmes Close
Newcastle
NE13 7JE
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 24-55283
DATE OF REPORT: 29/12/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-55283
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 6 Hartley Court
Holmes Close
Newcastle
NE13 7JE
Carried Out On | 29/12/2024
Survey Completed By | Rhys Brown
SECTION 2: Introduction
No Hot Water

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-55283
SECTION 3: Report
Heating boilers all on and working fine. Hot water boiler 1 is on and operational boiler 2 is in ignition fault and unable to get back in by resetting. Checked and hot water temp at 67 degrees in plant room and checked at flat 6 and all okay.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-55283
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-55283
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-55283
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-55283
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-55283
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes