## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Elliot house
4 bentinck road
Newcastle Upon Tyne
NE4 6US
NE11 0RU
CARRIED OUT ON BEHALF OF
Changing Lives
REPORT NUMBER: 25-55357
DATE OF REPORT: 22/01/2025
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 25-55357
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Changing Lives
Address | Central Office
Unit D13 Marquis Court
Tenth Avenue West
Team Valley
Gateshead
NE11 0RU
Site Address | Elliot house
4 bentinck road
Newcastle Upon Tyne
NE4 6US
Carried Out On | 22/01/2025
Survey Completed By | Paul Nichol
SECTION 2: Introduction
No heating or hot water

## Report
ZENITH MECHANICAL SERVICES
Report Number | 25-55357
SECTION 3: Report
PN 22-1-25 Boiler no3 leaking isolated valves boiler still dripping could be excess water in the pipes Filled system back up heating and hot water working Two turns on red crane valve to no 2 Boiler no 3

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 25-55357
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 25-55357
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 25-55357
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 25-55357
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 25-55357
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes