## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
9 Aged Miners Homes
Kelloe
Durham
DH6 4PF
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 25-55383
DATE OF REPORT: 02/02/2025
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 25-55383
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 9 Aged Miners Homes
Kelloe
Durham
DH6 4PF
Carried Out On | 02/02/2025
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Boiler Leaking

## Report
ZENITH MECHANICAL SERVICES
Report Number | 25-55383
SECTION 3: Report
Urgent FOW Boiler leaking from black plastic on burner alpha index 26c Boiler left on due to leak being minor and tenant being 95 years old. Plastic put around gas valve to shelter from leaking water and causing further damage.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 25-55383
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 25-55383
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 25-55383
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 25-55383
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 25-55383
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes