## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
5 crowgill court
Esh winning
Durham
DH7 9NG
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 25-55436
DATE OF REPORT: 01/03/2025
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 25-55436
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 5 crowgill court
Esh winning
Durham
DH7 9NG
Carried Out On | 01/03/2025
Survey Completed By | Paul Nichol
SECTION 2: Introduction
No heating or hot water boiler leaking

## Report
ZENITH MECHANICAL SERVICES
Report Number | 25-55436
SECTION 3: Report
PN 1/3/25 Tenant had left filling loop open after low pressure and water was dripping from boiler Drained down boiler recharged expansion vessel as it had no pressure Heating and hot water working

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 25-55436
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 25-55436
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 25-55436
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 25-55436
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 25-55436
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes