## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
16 magnolia court
Esh winning
Durham
DH79NY
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 25-55439
DATE OF REPORT: 01/03/2025
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 25-55439
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 16 magnolia court
Esh winning
Durham
DH79NY
Carried Out On | 01/03/2025
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Leak coming from bathroom sink

## Report
ZENITH MECHANICAL SERVICES
Report Number | 25-55439
SECTION 3: Report
PN 1-3-25 Water around bottom of basin No visible leaks from basin Cut wall behind basin were pipe come out of No visible leaks from speedfit joint behind wall Can you ring tenants daughter to see if water is still coming around basin if it is basin will need removed and wall cut all the way down to see if any joints are leaking Floor will need stuck back behind basin aswell Tenants daughter 07927626397

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 25-55439
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 25-55439
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 25-55439
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 25-55439
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 25-55439
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes