## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Shelly court
Peloton fell
Chester le street
DH2 2DQ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 25-55445
DATE OF REPORT: 03/03/2025
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 25-55445
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Shelly court
Peloton fell
Chester le street
DH2 2DQ
Carried Out On | 02/03/2025
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Electric boiler making a banging noise

## Report
ZENITH MECHANICAL SERVICES
Report Number | 25-55445
SECTION 3: Report
PN 2-3-25 Vibration coming from basin tap in bathroom 1/4 turn tap hot Needs cartridge replaced

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 25-55445
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 25-55445
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 25-55445
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 25-55445
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 25-55445
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes