## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
1 aged miners homes
Windy nook
Gateshead
NE10 9RN
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 25-55450
DATE OF REPORT: 04/03/2025
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 25-55450
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 1 aged miners homes
Windy nook
Gateshead
NE10 9RN
Carried Out On | 04/03/2025
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Leak from kitchen cupboard

## Report
ZENITH MECHANICAL SERVICES
Report Number | 25-55450
SECTION 3: Report
PN 4/3/25 Tenant said stuff in cupboard under sink was wet no signs of any visible leaks tightened all trap fittings ran tap no drips anywhere Could be from washer discharge hose Told tenant when she runs washer tomorrow to see if any water appears

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 25-55450
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 25-55450
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 25-55450
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 25-55450
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 25-55450
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes