## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
22 uphill drive
DH7 6PP
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 25-55457
DATE OF REPORT: 11/03/2025
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 25-55457
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 22 uphill drive
DH7 6PP
Carried Out On | 11/03/2025
Survey Completed By | John Bolton
SECTION 2: Introduction
Leak coming from boiler

## Report
ZENITH MECHANICAL SERVICES
Report Number | 25-55457
SECTION 3: Report
The boiler condensate requires re piping as the fittings were leaking. I’ve cut the pipe and ran it into a bowl as it was leaking into the light fitting. Only needs new fittings from where I’ve cut the pipe. Email with pictures sent to admin.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 25-55457
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 25-55457
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 25-55457
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 25-55457
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 25-55457
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes